Troubleshooting

- If simulator and app. Stop working from an unknown reason open windows task manager and end all processes:

MainUnitForm (32)

- BlackBox spreadsheet does not necessarily work correct with the simulator due to communication via com0com.

- If some 3rd party SW (using USB or serial communication) stop working, uninstall the com0com, SW from your PC.