Setting of communication between Instrument simulator and SDK application “Ion.Sdk.DemoApp.exe”

- Install the com0com application make sure you install the correct version:

  - setup_com0com_W7_x64_signed.exe (for 64bit system)

  - setup_com0com_W7_x86_signed.exe (for 32bit system)

- After installation of com0com the software should dedicate two com ports for communication between simulator and PC SW (in example case this are COM 44 & COM 47) adjust all tickers as per picture bellow and select Apply.

- COM44 will be in this case used for the communication of the simulator, enter the folder (MIXXXX) and open (mainUnit.ini) with text editor application set comPortName = “COM44” and press save and close.

- Run MainUnitForm.exe, which will start the instrument simulator (no additional settings are needed on the simulator).